Call for market consultation No.49653 with subject: “Supply of cables, reaction to fire performance class Bca or Cca, according to the EN 50575 standard Power, control and communication cables. Cables for general applications in construction works subject to reaction to fire requirements in compliance with EN50399; EN60332; EN61034 and EN60754.

Kozloduy NPP EAD informs all the interested parties that in connection with the preparation for public procurement award for the definition of an estimated cost and technical characteristics, on the grounds of Article 44 of the PPA, calls for indicative offers for “Supply of cables, reaction to fire performance class Bca or Cca according to the EN 50575 standard, Power, control and communication cables. Cables for general application in construction works subject to reaction to fire requirements in compliance with EN50399; EN60332; EN61034 and EN60754.

To provide cables for the modernisation of equipment and to upgrade the technical information for the cables used in Kozloduy NPP, in compliance with Article 350 (para. 1, 2) of [Regulation No. Із-1971 of 29 October 2009, “Construction and Technical norms and standards for ensuring safety in the event of fire](https://www.mrrb.bg/static/media/ups/articles/attachments/%D0%9D%D0%B0%D1%80%D0%B5%D0%B4%D0%B1%D0%B0ca2e265ac6463f899119dbd7b6cc737a.pdf)“, information for the capacity for production and supply of fire cables, reaction to fire performance class Bca or Cca, according to the EN 50575 standard, Power, control and communication cables. Cables for general application in construction works subject to reaction to fire requirements, in compliance with EN50399; EN60332; EN61034 and EN60754.

The required cables are shown in Attachment 1: Standard form (Sheet 1 for Electrical Equipment Department and Sheet 2 for I&C Systems Department).

The indicative offer (completed form) should contain the following information:

* Are the cables specified in Attachment 1 manufactured with fire performance class Bca or Cca according to EN50575, in compliance with EN50599; EN60332; EN61034 and EN60754?
* Could you provide a Declaration of performance issued by the manufacturer for providing compliance of the product with the EN 50575 harmonised standard?
* For cables, reaction to fire performance class Bca or Cca, is there a minimum quantity of cables required for an order?
* What is the minimum supply/manufacturing time of the cables, reaction to fire performance, class Bca or Cca for a cable of 100m (or for the minimum quantity required)?
* Are cables, reaction to fire performance class Bca or Cca available at stock or pre-order is required?
* How much does a cable roll of 100m , reaction to fire performance class Bca or Cca, specified in Attachment 1, cost?
* Please provide an updated catalogue and/or a list of the cables that you offer with information on the reaction to fire performance class, according to EN50575, in compliance with EN50399; EN60332; EN61034 and EN60754.

Note: Upon delivery, the cables should be accompanied by a Declaration of performance issued by the manufacturer, in compliance with Regulation (EU) No.305/2011 of the European Parliament and the Council of 09 March 2011 laying down harmonised conditions for the marketing of construction products and repealing Council Directive 89/106/EIC.

The offer should include the completed form in Attachment 1: Standard form, technical and catalogue information.

Inquiries about market consultations may be made by 08 August 2022 at the following e-mail address: [commercial@npp.bg](mailto:commercial@npp.bg), and the clarifications will be published in the Buyer’s profile.

Deadline for submission of indicative proposals: 19 August 2022 at the following e-mail: [commercial@npp.bg](mailto:commercial@npp.bg)

The indicative offers and any other information exchanged during the market consultations shall be published in the Buyer’s profile.

By submitting an indicative offer, each participant in the market consultations shall agree that the offer and any other information provided as a result of the market consultations will be publicly available in the Buyer’s Profile.

The Contracting Authority retains the rights to use indicative offers received in the course of conducted market consultations for the public procurement award up to the value thresholds under Art. 20, para. 4 of the PPA.

Further information may be obtained from Petranka Popnikolova, Marketing Expert, tel. +359 973 7 24 86, e-mail: [papopnikolova@npp.bg](mailto:papopnikolova@npp.bg)

Attachments:

Attachment 1: Standard form (Sheet 1 for Electrical Equipment Department and Sheet 2 for I&C Systems Department)