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INFORMATION NOTICE
	


RE: Market consultation pursuant to Article 44 of the PPA for the submission of indicative proposals for ‘Supply of a system for eddy current testing, ultrasonic inspection, and the installation and removal of mechanical plugs on the heat exchanging tubes of ПГВ-1000М-type steam generators’

Dear Sir or Madam,
Kozloduy NPP hereby informs all interested parties that, in connection with the preparation for the award of a public procurement and the determination of an estimated value, pursuant to Article 44 of the Public Procurement Act for the “Supply of a system for eddy current testing, ultrasonic inspection, and the installation and removal of mechanical plugs on the heat exchanging tubes of ПГВ-1000М-type steam generators”, a call for market consultation No.58728 has been published in the buyer's profile.
In connection with the questions received, we would like to provide the following clarification:

I. Question:
How is the weld between the tube sheet and the DN 850 collector intended to be inspected?
I. Answer:
The weld will be inspected from the inside of the SG collector.
II. Question:
Is it envisaged that the required UT module will inspect this weld from the inside of the steam generator collector?
	II. Answer:
Yes, the UT module shall allow for inspection of the weld from the inside of the SG collector.

III. Question:
Based on our experience, this weld is typically inspected from the outside using a different type of manipulator. Could you please clarify whether this inspection approach is intended in the present case?
III. Answer:
Our intention is to use the UT module for future inspections.

IV. Question:
Has the above-mentioned weld already been inspected using the proposed method?
IV. Answer:
An ultrasonic inspection of the weld has not been performed yet.
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